Department: Administrative Office

Name of the item(s) to be procured: Split Air Conditioner

GeM Bid/Tender number & Date:

Additional Terms  & Conditions:

Additional Terms and Conditions for AC contract

1. Installation and Commissioning of all AC are required at central library of the

L. D. College of Engineering, Ahmadabad-15, Gujarat, at no extra cost.

2. Installation and Commissioning are including with all accessory like Outer Unit

(Compressor) Stand, Copper and Drainage pipe (if more than standard, extra

required then provide at no extra cost), complete wiring with Separate MCB,

Plug Socket, plug pin, Cables for each AC, labor charge, drilling etc… at no

extra cost.

3. All accessories are standard quality with ISO.

4. Brochure of AC as well as accessories are to be supply is must be uploaded at

the time of bidding otherwise vender is liable to reject.

5. Periodical preventive and repair service with required spares to keep AC

functional all time at every three months.

6. Vendor has to perform additional visit during the contract period in case of

breakdown, as and when required.

7. The bidder shall maintain the service record showing the detail of AC, date of

visit, nature of work carried out, changed parts details and signature of authority.

8. The work shall be carried out by technically sound mechanics.

9. This bid is inclusive of one year warranty including all accessories as well as

breakdown service which is inclusive of repairs and replacement of any of the

parts required at the cost of bidder during warranty period.

10. Free replacement of all consumables such as gas refilling, capacitor,

temperature indicator, compressor, motors etc.

11. Repairs of electrical parts, electrical motors and compressor include

replacement of parts, rewinding or new ones as and when required during period

of warranty.

12. Security deposit will be deposited in the form of DD “Principal, L.D. College

of engineering, Ahmedabad” drawn by only nationalized bank. Security deposit

will be refunded once the said contact is over. No interest will be borne on the

said security deposit.

13. The vendor will have to provide comprehensive bid as mentioned in the terms

i.e. repairing, cleaning, any kind of service and consumables as well. In case of

failing to do so authority has the right to forfeit vendor’s security deposit for the

same. Any AC should not remain shut down during the warranty period for more

than 5 days for requirement of services or replacement of spare parts.

14. Service report will have to be duly signed by the concerned officer on half

yearly basis or when it is required.

15. The vendor shall handover the AC machines in the perfectly working condition

to the new agency at the end of their warranty period.

16. If the agency does not fully comply with the terms and conditions, then the

security deposit will be forfeited and action will be taken accordingly.

17. In the event of an accident, death or injury to the employees of the agency in the

course of their duty, it shall be the responsibility of the agency. The organization

will not pay any amount for damages or claims payable in this regard.

18. The instructions received from competent authority shall be followed from time

to time.

19. The agency will not be able to subcontract. The contract will be terminated with

immediate effect in the case of subletting the contract.

20. The Bidder/OEM must have branch office/ service center in Ahmedabad or 50

km near to Ahmedabad. If branch office/service center is not already there at

the time of bidding/successful bidder or OEM shall have to establish one within

30 days of award of contract. Payment shall be released only after submission

of documentary evidence of having functional service center.

21. Any disagreement or dispute will be subjected to the Ahmedabad judicial

authority.

22. Complain shall be attended within 48 hrs.

23.  Agency has to upload this ATC on company letter head with duly signed by

authority.

24. Bidder is abiding to follow norms laid as per state Gujarat State Procurement

Policy-2024.

Expert Committee members of the department:

| Sr.No. | Name | Designation | Department | Signature |
| --- | --- | --- | --- | --- |
| 1 | Dr. V R Patel | Professor | Electrical |  |
| 2 | Prof Anjana Prajapati | Asso. Professor | Mechanical |  |
| 3 | Prof M Y Patil | Asso. Professor & Store Officer | Mechanical |  |
| 5 | Prof N H Pancholi | Assi. Professor | Mechanical |  |
| 6 | Prof K K Pansal | Assi. Professor | Mechanical |  |
| 4 | Prof N D Rabara | Assi. Professor | Electrical |  |
| 7 | Prof Bhavesh Parmar | Assi. Professor | Biomedical |  |

HOD, Sign & Stamp